| Design Analysis Section / Page No. | Cmt # | Reviewer | JLAB Review Comment | A/E Response |
| --- | --- | --- | --- | --- |
| A2 | 1 | Elton Smith | Section B in A2 is inconsistent with actual drawing |  |
| A2 | 2 | Elton Smith | Section F/A8 is inconsistent with actual drawing |  |
| A3 | 3 | Elton Smith | B-1 “counting house/ Hall D” ghost comment? |  |
| A3 | 4 | Elton Smith | Pipe between tagger building and collimator hut for signal cables missing? |  |
| A5 | 5 | Elton Smith | D-3.5 sheild misspelled |  |
| A5 | 6 | Elton Smith | C-1 “cryo-plant – beyond” ghost comment? |  |
| A6 | 7 | Elton Smith | C-1.5 label goniometer |  |
| A6 | 8 | Elton Smith | C-1.5 label quardrupole |  |
| A6 | 9 | Elton Smith | Electron beam dump. Show electron dump shielding filling tunnel (NIC) Relocate center of dump proper to 5 upstream of end of tunnel |  |
| A6 | 10 | Elton Smith | Do we need the north stair entrance/exit to tagger building? Is access to tagger area required under controlled access? If so, access control 2-door entrance is needed. |  |
| A7 | 11 | Elton Smith | Move gas shed to lawn area east of counting room |  |
| A8 | 12 | Elton Smith | Height in tagger building should be 4.5 m (not 4.27) |  |
| A11 | 13 | Elton Smith | Top left of gas shed dimension 6’0’’ should be 2’0’’ (metric is correct) |  |