## ChCount
Modified Table from Eltons Hall D Construction Profile | [5 empty] | 16 Chan | 16 Chan | 72 Chan | 32 Chan | 64 Chan | 12 Chan | 48 Chan | 21 Slot | 20 Slot
***DRAFT***DRAFT***DRAFT*** | [5 empty] | CAEN? | JLAB | IU | JLAB | JLAB | ?? | ?? | VME64x | VXS
2006-12-17 | [5 empty] | CFD | 10 bit | 10-12bit | 62 ps | 125 ps | PMT-SHV | Chamber | 6U | 6U
C. Cuevas | [5 empty] | V1812 | 250 FADC | 100Mhz | F1TDC | F1TDC | HV | HV | Crates | Crates
Detector | Type | Channels | Modules | Crates | Racks
Photon Tagger | 6U, 16 ch, 8 bit, 250 Msps FADC | 250 | 16 | 1 |  |  | 15.625 | [6 empty] | 1
| 6U, 32 ch, 62 ps TDC | 250 | 8 | 1 |  |  |  |  | 8 |  |  |  | 1
| High Voltage | 150 | 12.5 | 1 | [6 empty] | 12.5
| 8 ch CFD | 250 | 32 | 2 | 2 | 15.625 | [6 empty] | 1
Upstream Photon Veto | 6U, 16 ch, 8 bit, 250 Msps FADC | 112 | 2 |  |  |  | 7
| High Voltage | 112 | 2 | [7 empty] | 9.3333
Start Counter | 6U, 16 ch, 8 bit, 250 Msps FADC | 40 | 3 |  |  |  | 2.5
| 6U, 32 ch, 62 ps TDC | 40 | 2 | 1 |  |  |  |  | 2 |  |  |  |  | 1
| High Voltage | 40 | 4 | [7 empty] | 4
| 8 ch CFD | 40 | 5 | 1 | 1 | 2.5
Central Drift | 6U, 16 ch, 125 Msps FADC | 3240 | 203 | 13 |  |  |  | 45 |  |  |  |  | 3
| High Voltage | 60 | 2 |  | 5 | [6 empty] | 2
| Gas |  |  |  | 2
Forward Drift anodes | 6U, 64 ch, 125 ps TDC | 2900 | 46 | 3 | [5 empty] | 46 |  |  | 4
| High Voltage | 300 | 7 | 1 | 1 | [6 empty] | 6.25
Forward Drift cathodes | 6U, 64 ch, 10 bit, 62.5 Msps FADC | 11400 | 179 | 12 | 4 |  |  | 160 |  |  |  |  | 8
| Gas |  |  |  | 2
Cerenkov (gas) | 6U, 8 ch, 8 bit, 250 Msps FADC | 40 | 5 |  |  |  | 5
| 8 ch CFD | 40 | 5 |  |  | 3 | [6 empty] | 1
| High Voltage | 40 |  | 1 | [6 empty] | 4
| Gas |  |  | 1 | 2
Time-of-flight | 8 ch CFD | 168 | 21 | 2 |  | 11 | [6 empty] | 1
| 6U, 32 ch, 62 ps TDC | 168 | 6 | [5 empty] | 6
| 6U, 16 ch, 8 bit, 250 Msps FADC | 168 | 11 | 1 |  |  | 10.5 | [6 empty] | 1
| High Voltage | 168 | 14 | 1 | 2 | [5 empty] | 14
Barrel Calorimeter [Outer] | 6U, 8 ch, 8 bit, 250 Msps FADCw/sum | 960 | 120 | 8 |  |  | 60 | [6 empty] | 2.8571
[ Inner ] |  | 1920 |  |  |  |  | 120 | [6 empty] | 5.7143
[ Outer ] | 6U, 32 ch, 62 ps TDC | 960 | 30 | 2 |  |  |  |  | 90 |  |  |  | 4.2857
[ Inner ] |  | 1920 | [6 empty] | 60 |  |  |  | 2.8571
[ Outer ] | 8 ch CFD | 960 | 120 | 8 | 6 | 60
[ Inner ] |  | 1920 |  |  |  | 120 | [6 empty] | 8.5714
| SiPMT Bias Supplies | [10 empty] | 60
Forward Calorimeter | 6U, 8 ch, 8 bit, 250 Msps FADCw/sum | 2500 | 313 | 20 | 7 |  | 156.25 | [6 empty] | 9.75
| Cockcroft Walton control, misc |  |  | 1 | 1
Level 1 Trigger |  |  |  | 3 | 1
Totals |  | 31116 | 1168.5 | 84 | 36 | 212.125 | 376.875 | 205 | 166 | 46 | 43.8333 | 68.25 | 34.7143 |  | MODULES
[6 empty] | 16 Chan | 16 Chan | 72 Chan | 32 Chan | 64 Chan | 12 Chan | 48 Chan | 21 Slot | 20 Slot
DAQ type crates |  |  |  | 67 |  | CAEN? | JLAB | IU | JLAB | JLAB | ?? | ?? | VME64x | VXS
DISC type crates |  |  |  | 30 |  | CFD | 10 bit | 10-12bit | 62 ps | 125 ps | PMT-SHV | Chamber | 6U | 6U
HV type crates |  |  |  | 4 |  | V1812 | 250 FADC | 100Mhz | F1TDC | F1TDC | HV | HV | Crates | Crates
HV Crate |  |  |  | Total --> | 10 | [5 empty] | 3.6667 | 5.6667
VME64x & VXS Crates |  |  |  | Total --> | 59 | [7 empty] | 37 | 22
Cerenkov Detector | 8 ch CFD | 2000 | 250 | 16 | 4
| 6U, 16 ch, 8 bit, 250 Msps | 32 | 2
| 6U, 64 ch, 125 ps TDC | 2000 | 32 | 2
| High Voltage | 32 | 3 | 1 | 1
| Gas |  |  |  | 2

## FADC
Modified Table from Eltons Hall D Construction Profile
***DRAFT***DRAFT***DRAFT***
12/17/2006 C. Cuevas | [8 empty] | Construction
| -1 | 0 | 1 | 2 | 3 | 4 | 5 | Total | Total
fadc-50k |  |  | 315 | 448 | 514 | 405
FADC | 0 | 0 | 365 | 498 | 564 | 455 |  | 1882 | 1882
Cal / 10 bit / 250 Mps | 0 | 0 | 40 | 44 | 0 | 0 |  | 84 | 84
10-12 bits / 125 Mps | 0 | 0 | 65 | 200 | 124 | 0 |  | 389 | 389 |  |  | There will be one other fADC design. There are three
10-12 bits / 62.5 Mps | 0 | 0 | 0 | 0 | 400 | 455 |  | 855 | 855 |  |  | other designs listed here. The construction costs
Cal / 8 bit sum / 250 Mps | 0 | 0 | 260 | 254 | 40 | 0 |  | 554 | 554 |  |  | associated with the fADC for the drift chambers should
Labor | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  |  | reflect the number of modules. The latest module
count uses the 72 channel fADC idea.
Total | 0 | 0 | 365 | 498 | 564 | 455 |  | 1882 | 1882
Construction
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | Totals | Total
University Labor (man-weeks)
professors | 0 | 0 | 1 | 4 | 4 | 4 |  | 13 | 13
gradudate students | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / grant | 0 | 0 | 11 | 44 | 44 | 44 |  | 143 | 143
staff / other | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Contributed University | 0 | 0 | 12 | 48 | 48 | 48 |  | 156 | 156
Visiting Users | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / project | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
undergraduate students | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Fast Electronics Group | 0 | 0 | 22 | 88 | 0 | 0 |  | Totals | 110
Electrical engineer | 0 | 0 | 22 | 88 | 0 | 0 |  |  | 110
(not included in project cost)
Hall D Technical Staff | 0 | 0 | 11 | 55 | 55 | 55 |  | Totals | 176
Electrical technician 1 | 0 | 0 | 11 | 55 | 55 | 55 |  | ADC | 176
Hall D Term | 0 | 0 | 11 | 55 | 55 | 55 |  | Totals | 176
Electrical Designer 3 | 0 | 0 | 11 | 55 | 55 | 55 |  | ADC | 176
Notes from Paul Smith 1/25/05 | [10 empty] | id | item | duration | duration | cost | elect | elect | contr
Item | Channels | Units | Cost/unit | Cost(k$) | [7 empty] | 2006-09-14 | days | weeks |  | designer | tech | univ
Cal / 8 bit / 250 Mps | 376.875 | EA | 0.16 | 60.3
10-12 bits / 125 Mps | #REF! | EA | 0.12 | #REF! | [6 empty] | 110 | Assemble pmt logic/signal analyzers | 25 | 5 |  | 12
10-12 bits / 62.5 Mps | 205 | EA | 0.075 | 15.375 | [13 empty] | 34
Cal / 8 bit sum / 250 Mps | #REF! | EA | 0.157 | #REF! | [6 empty] | 120 | Implement pmt CODA libraries | 25 | 5 |  | 16
[11 empty] | 130 | Implement pmt feature extraction algorithms | 45 | 9 |  | 20
Total | #REF! |  |  | #REF! | [13 empty] | 44
[11 empty] | 140 | Implement pmt energy-sum algorithms | 25 | 5 |  | 20
Average cost for two types of FADCs for schedule |  |  |  |  | estimated times to receive, board test, crate test | [12 empty] | 44
[5 empty] | receive | time | board tst | time | crate tst | time | 150 | Dry run of test pmt procedures | 25 | 5 |  | 12
Item | Channels | Units | Cost/unit | Cost(k$) | # / week | (weeks) | # / week | (weeks) | # / week | (weeks) | 210 | Procure fADCs for pmts | 130 | 26 | 100
10-bit / 250 Mps | #REF! | EA | 0.157 | #REF! | 40 | #REF! | 40 | #REF! | 3 | #REF! | 210 |  |  |  | 539
10-12 bits / 125 Mps | #REF! | EA | 0.085 | #REF! | 40 | #REF! | 40 | #REF! | 3 | #REF! | 220 | Receive fADCs for pmts | 35 | 7 |  |  | 11
[11 empty] | 230 | Burn-in fADCs for pmts | 35 | 7 |  |  | 11
Total | #REF! |  |  | #REF! | [6 empty] | 240 | Single-board acceptance fADCs for pmts | 35 | 7 |  |  | 15
[11 empty] | 250 | Crate acceptance test for fADCs for pmts | 25 | 5 |  |  | 11
Notes from Chris 7/11/05 cost per board ADJUSTED on 16 DEC 2006 | [10 empty] | 260 | Assembly of fADC pmt as part of trigger | 65 | 13 |  | 28
[11 empty] | 310 | Assemble DC logic/signal analyzers | 25 | 5 |  | 16
Item | Channels | Units | Cost/unit | Cost(k$) | [6 empty] | 320 | Implement DC CODA libraries | 25 | 5 |  | 12
ADC (10 bits) | 16 | EA | 0.065 | 1.04 | [6 empty] | 330 | Implement DC feature extraction algorithms | 25 | 5 |  | 12
ADC (8 bits) | [5 empty] | 8 bit chip will not be used | [11 empty] | 34
FPGA | 4 | EA | 0.375 | 1.5 | [6 empty] | 340 | Dry run of test DC procedures | 25 | 5 |  | 28
FPGA | 1 | EA | 0.225 | 0.225 | [6 empty] | 410 | Procure fADCs for DCs | 130 | 26 | 100
Connectors | 1 | EA | 0.2 | 0.2 | [6 empty] | 410 |  |  |  | 1144
Board | 1 | EA | 0.75 | 0.75 | [6 empty] | 420 | Receive fADCs for DCs | 130 | 26 |  |  | 32
Front Panel | 1 | EA | 0.125 | 0.125 | [6 empty] | 430 | Burn-in fADCs for DCs | 130 | 26 |  |  | 32
Assembly | 1 | EA | 0.175 | 0.175 | [6 empty] | 440 | Single-board acceptance of fADCs DCs | 130 | 26 |  |  | 32
[11 empty] | 450 | Crate acceptance tests of fADCs for DCs | 85 | 17 |  |  | 32
Total (8 bits) | [5 empty] | 8 bit chip will not be used
Cost/channel (8 bits) | [5 empty] | 8 bit chip will not be used | [5 empty] | Total | 1175 | 235 | 1883 | 176 | 176 | 156
Cost/channel (10 bits) |  |  |  | 4.015

## TDC
Modified Table from Eltons Hall D Construction Profile
***DRAFT***DRAFT***DRAFT***
12/17/2006 C. Cuevas | [8 empty] | Construction
| -1 | 0 | 1 | 2 | 3 | 4 | 5 | Total | Total
TDC-50 |  |  |  | 41 | 53 | 53
TDC | 0 | 0 | 0 | 91 | 103 | 103 |  | 297 | 297
TDC (62 ps) | 0 | 0 | 0 | 40 | 53 | 53 |  | 146 | 146
TDC (125 ps) | 0 | 0 | 0 | 51 | 50 | 50 |  | 151 | 151
Labor | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Total | 0 | 0 | 0 | 91 | 103 | 103 |  | 297 | 297
Construction
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | Totals | Total
University Labor (man-weeks)
professors | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
gradudate students | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / grant | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / other | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Contributed University | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Visiting Users | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / project | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
undergraduate students | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Hall D Technical Staff | 0 | 0 | 11 | 55 | 55 | 55 |  | Totals | 176
Electrical Designer 1 | 0 | 0 | 11 | 55 | 55 | 55 |  | TDC | 176
Hall D Term | 0 | 0 | 11 | 55 | 55 | 55 |  | Totals
Electrical Designer 2 | 0 | 0 | 11 | 55 | 55 | 55 |  | TDC | 176
Physicists | 0 | 0 | 8.25 | 41.25 | 41.25 | 41.25 |  | Totals | 176
Coordinator (Detector ) | 0 | 0 | 11 | 55 | 55 | 55 |  | Electronics | 176
fudge durations for compatibility with m-w
Need to check with Chris 2/3/05 |  |  |  |  | estimated times to receive, board test, crate test | [5 empty] | id | item | duration | duration | cost | elect | scientist
Notes from Paul 3/8/05 |  |  |  |  | receive | time | board tst | time | crate tst | time |  | 2006-09-14 | days | weeks |  | designer
Item | Channels | Units | Cost/unit | Cost(k$) | # / week | (weeks) | # / week | (weeks) | # / week | (weeks)
TDC (62 ps) | 166 | EA | 0.10312 | 17.1187 | 40 | 0.12969 | 40 | 0.12969 | 2 | 0.12969 | 110 | Assemble logic/signal analyzers | 21.75 | 8.7 |  | 64
TDC (125 ps) | 46 | EA | 0.051562 | 2.3719 | 40 | 0.071875 | 40 | 0.071875 | 2 | 0.071875 | 120 | Implement CODA libraries | 21.75 | 8.7 |  | 64
[11 empty] | 130 | Implement feature extraction algorithms | 21.75 | 8.7 |  |  | 66
Total |  |  |  | 19.4906 |  | 0.20156 |  | 0.20156 |  | 0.20156 | 140 | Dry run of test procedures | 21.75 | 8.7 |  |  | 66
[11 empty] | 210 | Procure TDCs | 130.5 | 52.2 | 141
JLAB F1TDC "Crate System" |  |  | From Chris 2/3/05 | [7 empty] | 210 |  |  |  | 156
| Quantity | Cost per item | Extended Cost | Notes | [6 empty] | 220 | Receive TDCs | 32.63 | 13.052 |  | 32
| 1 | 7500 | 7500 | 21 Slot powered VME64x Crate | [6 empty] | 230 | Burn-in TDCs | 32.63 | 13.052 |  | 64
| 18 | 3300 | 59400 | Assume 18 F1TDC modules per crate. Price includes front panels & assembly | [6 empty] | 240 | Single-board acceptance of TDCs | 43.5 | 17.4 |  | 64
| 18 | 35 | 630 | P2 Interface boards. Includes parts and assembly | [6 empty] | 250 | Crate acceptance tests of TDCs | 43.5 | 17.4 |  | 64
| 18 | 5 | 90 | Interface cables from HUB to P2 cards
| 1 | 1000 | 1000 | Signal distribution HUB. Includes circuit board, components, and metal panel | [7 empty] | Total |  | 147.904 | 297 | 352 | 132
| 1 | 3000 | 3000 | Motorola Cpu
| TOTAL |  | 71620
crate cost (k$) |  | 9.22
Cost/chan |  | 103.125
Cost/chan |  | 51.5625
Crate aux |  | 1.72

## racks,crates
Modified Table from Eltons Hall D Construction Profile
***DRAFT***DRAFT***DRAFT***
12/17/2006 C. Cuevas | [8 empty] | Construction
| -1 | 0 | 1 | 2 | 3 | 4 | 5 | Total | Total
racks-50k |  |  | 120 | 127 | 219 | 215 | [5 empty] | DISC type crates would be eliminated if CFD were VME format.
Racks, crates | 0 | 0 | 170 | 177 | 269 | 265 |  | 881 | 881
Racks | 0 | 0 | 0 | 0 | 41 | 0 |  | 41 | 41
crates | 0 | 0 | 170 | 177 | 228 | 265 |  | 840 | 840
Labor | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Total | 0 | 0 | 170 | 177 | 269 | 265 |  | 881 | 881
Construction
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | Totals | Total
University Labor (man-weeks)
professors | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
gradudate students | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / grant | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / other | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Contributed University | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Visiting Users | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / project | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
undergraduate students | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Hall D Term | 0 | 0 | 0 | 0 | 44 | 44 |  | Totals | 88
Electrical Tech 4 | 0 | 0 | 0 | 0 | 44 | 44 |  | crates | 88
[11 empty] | id | item | duration | duration | cost | elect
Notes from Paul 2/9/05 | [11 empty] | 2006-09-16 | days | weeks |  | tech
Notes from Chris 2/3/05
Notes from Paul 1/31/05 | [10 empty] | 110 | Purchase crate DAQ type | 130.5 | 26.1 | 503
Notes from Paul 3/8/05 |  |  |  |  | estimated times to receive, board test, crate test | [5 empty] | 120 | Purchase ADC backplane | 130.5 | 26.1 | 70
[5 empty] | receive | time | board tst | time | crate tst | time | 130 | Purchase ADC clock distribution | 43.5 | 8.7 | 101
Item | Crates | Units | Cost/unit | Cost(k$) | # / week | (weeks) | # / week | (weeks) | # / week | (weeks) | 140 | Assemble ADC crates | 10.88 | 2.176 |  | 22
Crates DAQ type | 37 | EA | 7.5 | 277.5 | 40 | 0.925 |  |  | 10 | 3.7 | 210 | Test ADC crates | 21.75 | 4.35 |  | 22
Crates DISC type | 30 | EA | 5.2 | 156 | 40 | 0.75 |  |  | 10 | 3 | 220 | Purchase TDC auxiliaries | 130.5 | 26.1 | 17
ADC Clock distribution | 59 | EA | 1.5 | 88.5 | 80 | 0.7375 |  |  |  |  | 230 | Assemble TDC crates | 10.88 | 2.176 |  | 22
TDC crate auxiliaries | 12 | EA | 1.7 | 20.4 | 80 | 0.15 |  |  |  |  | 240 | Test TDC crates | 10.88 | 2.176 |  | 22
ADC backplanes??? VXS Style | 22 | EA | 2.5 | 55 | 80 | 0.275 |  |  |  |  | 310 | Purchase crate DISC type | 130.5 | 26.1 | 156
Racks | 36 | EA | 1 | 36 | 80 | 0.45 |  |  |  |  | 410 | Purchase racks | 130.5 | 26.1 | 36
Total |  |  |  | 633.4 | [7 empty] | Total |  | 150.078 | 883 | 88

## logic,HV
Modified Table from Eltons Hall D Construction Profile
***DRAFT***DRAFT***DRAFT***
12/17/2006 C. Cuevas | [8 empty] | Construction
| -1 | 0 | 1 | 2 | 3 | 4 | 5 | Total | Total
hv-50k |  |  | 5 | 13 | 40
HV | 0 | 0 | 55 | 63 | 90 | 40 |  | 248 | 248
HV mainframes | 0 | 0 | 15 | 0 | 25 | 0 |  | 40 | 40
HV Chambers cards | 0 | 0 |  | 10 | 20 | 15 |  | 45 | 45
HV PMTs | 0 | 0 | 0 | 20 | 45 | 25 |  | 90 | 90
CFDs | 0 | 0 | 40 | 33 | 0 | 0 |  | 73 | 73 |  |  | This cost would be allocated to commercial VME module
Labor | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Total | 0 | 0 | 55 | 63 | 90 | 40 |  | 248 | 248
Construction
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | Totals | Total
University Labor (man-weeks)
professors | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
gradudate students | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / grant | 0 | 0 | 2 | 5 | 5 | 5 |  | 17 | 17
staff / other | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Contributed University | 0 | 0 | 2 | 5 | 5 | 5 |  | 17 | 17
Visiting Users | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
staff / project | 0 | 0 | 44 | 0 | 0 | 0 |  | 44 | 44
undergraduate students | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Hall D Term | 0 | 0 | 0 | 44 | 44 | 44
Electrical Tech 3 | 0 | 0 | 0 | 44 | 44 | 44 |  | HV | 132
[11 empty] | id | item | duration | duration | cost | elect | contr | paid
[5 empty] | estimated times to receive, board test, crate test | [6 empty] | 2006-09-16 | days | weeks |  | tech | univ | univ
Notes from Paul Smith 1/25/05 |  |  |  |  | receive | time | board tst | time | crate tst | time
Item | Channels | Units | Cost/unit | Cost(k$) | # / week | (weeks) | # / week | (weeks) | # / week | (weeks) | 110 | Assemble signal distribution CFD tests | 21.75 | 4.35 |  |  |  | 22
CFDs | #REF! | EA | 0.05 | #REF! | 40 | #REF! | 100 | #REF! | 5 | #REF! | 120 | Dry run of testing procedures for CFDs | 5.44 | 1.088 |  |  | 17
HV Chamber (48 ch per card) | 68 | EA | 6 | 408 | 40 | 1.7 |  |  |  |  | 120 | [6 empty] | 22
HV PMTs (12 ch per card) | 44 | EA | 2.5 | 110 | 40 | 1.1 |  |  |  |  | 210 | Procure CFDs | 130.5 | 26.1 | 72.9
HV mainframes | 10 | EA | 8 | 80 | 40 | 0.25 |  |  | 5 | 2 | 220 | Receive CFDs | 10.88 | 2.176 |  | 22
[11 empty] | 230 | Single-board acceptance of CFDs | 10.88 | 2.176 |  | 22
Total |  |  |  | #REF! | [6 empty] | 240 | Crate acceptance test of CFDs | 10.88 | 2.176 |  | 22
[11 empty] | 310 | Assemble power for HV tests | 21.75 | 4.35 |  | 22
[11 empty] | 320 | Dry run of HV crate test | 5.44 | 1.088
[11 empty] | 410 | Procure HV crates | 130.5 | 26.1 | 32
[11 empty] | 420 | Procure HV DC cards | 130.5 | 26.1 | 54
[11 empty] | 430 | Procure HV pmt cards | 131.5 | 26.3 | 90
[11 empty] | 440 | Receive HV cards and crates | 5.44 | 1.088 |  | 22
[11 empty] | 450 | Crate power tests of boards and crates | 10.88 | 2.176 |  | 22
[12 empty] | Total |  | 125.268 | 248.9 | 132 | 17 | 44
Acceptance testing etc will still be needed if commercial module is selected